## 3_Foss_poly_1
[TITLE]
foss_poly_1 | -- | Bragalli | D'Ambrosio | Lee | Lodi | Toth | -2008
[JUNCTIONS]
| ID | Elev | Demand | Pattern
| NFLOURS | Value
| PRESS_DRIVEN | Ref.press | Tresh.press
| 1 | 65.15 | 0.49
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 2 | 64.4 | 1.04
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 3 | 63.35 | 1.02
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 4 | 62.5 | 0.81
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 5 | 61.24 | 0.63
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 6 | 65.4 | 0.79
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 7 | 67.9 | 0.26
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 8 | 66.5 | 0.58
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 9 | 66 | 0.54
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 10 | 64.17 | 1.11
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 11 | 63.7 | 1.75
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 12 | 62.64 | 0.91
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 13 | 61.9 | 1.16
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 14 | 62.6 | 0.54
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 15 | 63.5 | 1.1
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 16 | 64.3 | 1.21
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 17 | 65.5 | 1.27
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 18 | 64.1 | 2.02
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 19 | 62.9 | 1.88
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 20 | 62.83 | 0.93
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 21 | 62.8 | 0.96
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 22 | 63.9 | 0.97
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 23 | 64.2 | 0.86
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 24 | 67.5 | 0.67
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 25 | 64.4 | 0.77
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 26 | 63.4 | 1.69
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 27 | 63.9 | 1.42
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 28 | 65.65 | 0.3
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 29 | 64.5 | 0.62
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 30 | 64.1 | 0.54
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 31 | 64.4 | 0.9
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 32 | 64.2 | 1.03
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 33 | 64.6 | 0.77
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 34 | 64.7 | 0.74
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 35 | 65.43 | 1.16
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
| 36 | 65.9 | 0.47
| NFLOURS | 1
| PRESS_DRIVEN | 14.276 | -1
[RESERVOIRS]
| ID | Head | Pattern
| 37 | 121
[TANKS]
| ID | Elevation | InitLevel | MinLevel | MaxLevel | Diameter | MinVol | VolCurve
[PIPES]
| ID | Node1 | Node2 | Length | Diameter | Roughness | MinorLoss | Status
| SIZINGDATA | Bulk | coeff. | Wall | coeff. | Diam. | Zone | Material | Is | Sizable | D. | Coeff. | Demand | Patt | Loss | Coeff. | Loss | Patt
| 1 | 1 | 17 | 132.76 | 40.8 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 2 | 17 | 2 | 374.68 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 3 | 2 | 3 | 119.74 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 4 | 3 | 4 | 312.72 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 5 | 4 | 5 | 289.09 | 26 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 6 | 5 | 6 | 336.33 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 7 | 6 | 7 | 135.81 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 8 | 7 | 24 | 201.26 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 9 | 24 | 8 | 132.53 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 10 | 8 | 28 | 144.66 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 11 | 28 | 9 | 175.72 | 20.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 12 | 9 | 36 | 112.17 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 13 | 36 | 1 | 210.74 | 51.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 14 | 1 | 31 | 75.41 | 204.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 15 | 31 | 10 | 181.42 | 184 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 16 | 10 | 11 | 146.96 | 147.2 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 17 | 11 | 19 | 162.69 | 90 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 18 | 19 | 12 | 99.64 | 73.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 19 | 12 | 4 | 52.98 | 40.8 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 20 | 2 | 18 | 162.97 | 40.8 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 21 | 18 | 10 | 83.96 | 73.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 22 | 10 | 32 | 49.82 | 102.2 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 23 | 32 | 27 | 78.5 | 90 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 24 | 27 | 16 | 99.27 | 73.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 25 | 16 | 25 | 82.29 | 61.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 26 | 25 | 8 | 147.49 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 27 | 3 | 11 | 197.32 | 40.8 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 28 | 11 | 26 | 83.3 | 102.2 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 29 | 26 | 15 | 113.8 | 90 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 30 | 15 | 22 | 80.82 | 61.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 31 | 22 | 7 | 340.97 | 26 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 32 | 5 | 13 | 77.39 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 33 | 13 | 14 | 112.37 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 34 | 14 | 20 | 37.34 | 40.8 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 35 | 20 | 15 | 108.85 | 51.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 36 | 15 | 16 | 182.82 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 37 | 16 | 29 | 136.02 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 38 | 29 | 30 | 56.7 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 39 | 30 | 9 | 124.08 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 40 | 17 | 18 | 234.6 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 41 | 12 | 13 | 203.83 | 40.8 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 42 | 19 | 20 | 248.05 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 43 | 14 | 21 | 65.19 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 44 | 21 | 6 | 210.09 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 45 | 21 | 22 | 147.57 | 40.8 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 46 | 22 | 23 | 103.8 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 47 | 24 | 23 | 210.95 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 48 | 23 | 25 | 75.08 | 51.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 49 | 26 | 27 | 180.29 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 50 | 28 | 29 | 149.05 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 51 | 29 | 33 | 215.05 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 52 | 32 | 33 | 144.44 | 16 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 53 | 33 | 34 | 34.74 | 51.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 54 | 31 | 34 | 59.93 | 73.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 55 | 34 | 35 | 165.67 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 56 | 30 | 35 | 119.97 | 20.4 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 57 | 35 | 36 | 83.17 | 32.6 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
| 58 | 37 | 1 | 1 | 229.2 | 150 | 0 | Open
| SIZINGDATA |  |  | 0 | Yes | 1 |  | 1 |  | Used | in | Network | Sizing
[PUMPS]
| ID | Node1 | Node2 | Parameters
[VALVES]
| ID | Node1 | Node2 | Diameter | Type | Setting | MinorLoss
[TAGS]
[DEMANDS]
| Junction | Demand | Pattern | Category
| 1 | 0.49
| 1 | 0 | Pipe: | 1
| 1 | 0 | Loss: | 1
| 1 | 0 | Pipe: | 13
| 1 | 0 | Loss: | 13
| 1 | 0 | Pipe: | 14
| 1 | 0 | Loss: | 14
| 1 | 0 | Pipe: | 58
| 1 | 0 | Loss: | 58
| 2 | 1.04
| 2 | 0 | Pipe: | 2
| 2 | 0 | Loss: | 2
| 2 | 0 | Pipe: | 3
| 2 | 0 | Loss: | 3
| 2 | 0 | Pipe: | 20
| 2 | 0 | Loss: | 20
| 3 | 1.02
| 3 | 0 | Pipe: | 3
| 3 | 0 | Loss: | 3
| 3 | 0 | Pipe: | 4
| 3 | 0 | Loss: | 4
| 3 | 0 | Pipe: | 27
| 3 | 0 | Loss: | 27
| 4 | 0.81
| 4 | 0 | Pipe: | 4
| 4 | 0 | Loss: | 4
| 4 | 0 | Pipe: | 5
| 4 | 0 | Loss: | 5
| 4 | 0 | Pipe: | 19
| 4 | 0 | Loss: | 19
| 5 | 0.63
| 5 | 0 | Pipe: | 5
| 5 | 0 | Loss: | 5
| 5 | 0 | Pipe: | 6
| 5 | 0 | Loss: | 6
| 5 | 0 | Pipe: | 32
| 5 | 0 | Loss: | 32
| 6 | 0.79
| 6 | 0 | Pipe: | 6
| 6 | 0 | Loss: | 6
| 6 | 0 | Pipe: | 7
| 6 | 0 | Loss: | 7
| 6 | 0 | Pipe: | 44
| 6 | 0 | Loss: | 44
| 7 | 0.26
| 7 | 0 | Pipe: | 7
| 7 | 0 | Loss: | 7
| 7 | 0 | Pipe: | 8
| 7 | 0 | Loss: | 8
| 7 | 0 | Pipe: | 31
| 7 | 0 | Loss: | 31
| 8 | 0.58
| 8 | 0 | Pipe: | 9
| 8 | 0 | Loss: | 9
| 8 | 0 | Pipe: | 10
| 8 | 0 | Loss: | 10
| 8 | 0 | Pipe: | 26
| 8 | 0 | Loss: | 26
| 9 | 0.54
| 9 | 0 | Pipe: | 11
| 9 | 0 | Loss: | 11
| 9 | 0 | Pipe: | 12
| 9 | 0 | Loss: | 12
| 9 | 0 | Pipe: | 39
| 9 | 0 | Loss: | 39
| 10 | 1.11
| 10 | 0 | Pipe: | 15
| 10 | 0 | Loss: | 15
| 10 | 0 | Pipe: | 16
| 10 | 0 | Loss: | 16
| 10 | 0 | Pipe: | 21
| 10 | 0 | Loss: | 21
| 10 | 0 | Pipe: | 22
| 10 | 0 | Loss: | 22
| 11 | 1.75
| 11 | 0 | Pipe: | 16
| 11 | 0 | Loss: | 16
| 11 | 0 | Pipe: | 17
| 11 | 0 | Loss: | 17
| 11 | 0 | Pipe: | 27
| 11 | 0 | Loss: | 27
| 11 | 0 | Pipe: | 28
| 11 | 0 | Loss: | 28
| 12 | 0.91
| 12 | 0 | Pipe: | 18
| 12 | 0 | Loss: | 18
| 12 | 0 | Pipe: | 19
| 12 | 0 | Loss: | 19
| 12 | 0 | Pipe: | 41
| 12 | 0 | Loss: | 41
| 13 | 1.16
| 13 | 0 | Pipe: | 32
| 13 | 0 | Loss: | 32
| 13 | 0 | Pipe: | 33
| 13 | 0 | Loss: | 33
| 13 | 0 | Pipe: | 41
| 13 | 0 | Loss: | 41
| 14 | 0.54
| 14 | 0 | Pipe: | 33
| 14 | 0 | Loss: | 33
| 14 | 0 | Pipe: | 34
| 14 | 0 | Loss: | 34
| 14 | 0 | Pipe: | 43
| 14 | 0 | Loss: | 43
| 15 | 1.1
| 15 | 0 | Pipe: | 29
| 15 | 0 | Loss: | 29
| 15 | 0 | Pipe: | 30
| 15 | 0 | Loss: | 30
| 15 | 0 | Pipe: | 35
| 15 | 0 | Loss: | 35
| 15 | 0 | Pipe: | 36
| 15 | 0 | Loss: | 36
| 16 | 1.21
| 16 | 0 | Pipe: | 24
| 16 | 0 | Loss: | 24
| 16 | 0 | Pipe: | 25
| 16 | 0 | Loss: | 25
| 16 | 0 | Pipe: | 36
| 16 | 0 | Loss: | 36
| 16 | 0 | Pipe: | 37
| 16 | 0 | Loss: | 37
| 17 | 1.27
| 17 | 0 | Pipe: | 1
| 17 | 0 | Loss: | 1
| 17 | 0 | Pipe: | 2
| 17 | 0 | Loss: | 2
| 17 | 0 | Pipe: | 40
| 17 | 0 | Loss: | 40
| 18 | 2.02
| 18 | 0 | Pipe: | 20
| 18 | 0 | Loss: | 20
| 18 | 0 | Pipe: | 21
| 18 | 0 | Loss: | 21
| 18 | 0 | Pipe: | 40
| 18 | 0 | Loss: | 40
| 19 | 1.88
| 19 | 0 | Pipe: | 17
| 19 | 0 | Loss: | 17
| 19 | 0 | Pipe: | 18
| 19 | 0 | Loss: | 18
| 19 | 0 | Pipe: | 42
| 19 | 0 | Loss: | 42
| 20 | 0.93
| 20 | 0 | Pipe: | 34
| 20 | 0 | Loss: | 34
| 20 | 0 | Pipe: | 35
| 20 | 0 | Loss: | 35
| 20 | 0 | Pipe: | 42
| 20 | 0 | Loss: | 42
| 21 | 0.96
| 21 | 0 | Pipe: | 43
| 21 | 0 | Loss: | 43
| 21 | 0 | Pipe: | 44
| 21 | 0 | Loss: | 44
| 21 | 0 | Pipe: | 45
| 21 | 0 | Loss: | 45
| 22 | 0.97
| 22 | 0 | Pipe: | 30
| 22 | 0 | Loss: | 30
| 22 | 0 | Pipe: | 31
| 22 | 0 | Loss: | 31
| 22 | 0 | Pipe: | 45
| 22 | 0 | Loss: | 45
| 22 | 0 | Pipe: | 46
| 22 | 0 | Loss: | 46
| 23 | 0.86
| 23 | 0 | Pipe: | 46
| 23 | 0 | Loss: | 46
| 23 | 0 | Pipe: | 47
| 23 | 0 | Loss: | 47
| 23 | 0 | Pipe: | 48
| 23 | 0 | Loss: | 48
| 24 | 0.67
| 24 | 0 | Pipe: | 8
| 24 | 0 | Loss: | 8
| 24 | 0 | Pipe: | 9
| 24 | 0 | Loss: | 9
| 24 | 0 | Pipe: | 47
| 24 | 0 | Loss: | 47
| 25 | 0.77
| 25 | 0 | Pipe: | 25
| 25 | 0 | Loss: | 25
| 25 | 0 | Pipe: | 26
| 25 | 0 | Loss: | 26
| 25 | 0 | Pipe: | 48
| 25 | 0 | Loss: | 48
| 26 | 1.69
| 26 | 0 | Pipe: | 28
| 26 | 0 | Loss: | 28
| 26 | 0 | Pipe: | 29
| 26 | 0 | Loss: | 29
| 26 | 0 | Pipe: | 49
| 26 | 0 | Loss: | 49
| 27 | 1.42
| 27 | 0 | Pipe: | 23
| 27 | 0 | Loss: | 23
| 27 | 0 | Pipe: | 24
| 27 | 0 | Loss: | 24
| 27 | 0 | Pipe: | 49
| 27 | 0 | Loss: | 49
| 28 | 0.3
| 28 | 0 | Pipe: | 10
| 28 | 0 | Loss: | 10
| 28 | 0 | Pipe: | 11
| 28 | 0 | Loss: | 11
| 28 | 0 | Pipe: | 50
| 28 | 0 | Loss: | 50
| 29 | 0.62
| 29 | 0 | Pipe: | 37
| 29 | 0 | Loss: | 37
| 29 | 0 | Pipe: | 38
| 29 | 0 | Loss: | 38
| 29 | 0 | Pipe: | 50
| 29 | 0 | Loss: | 50
| 29 | 0 | Pipe: | 51
| 29 | 0 | Loss: | 51
| 30 | 0.54
| 30 | 0 | Pipe: | 38
| 30 | 0 | Loss: | 38
| 30 | 0 | Pipe: | 39
| 30 | 0 | Loss: | 39
| 30 | 0 | Pipe: | 56
| 30 | 0 | Loss: | 56
| 31 | 0.9
| 31 | 0 | Pipe: | 14
| 31 | 0 | Loss: | 14
| 31 | 0 | Pipe: | 15
| 31 | 0 | Loss: | 15
| 31 | 0 | Pipe: | 54
| 31 | 0 | Loss: | 54
| 32 | 1.03
| 32 | 0 | Pipe: | 22
| 32 | 0 | Loss: | 22
| 32 | 0 | Pipe: | 23
| 32 | 0 | Loss: | 23
| 32 | 0 | Pipe: | 52
| 32 | 0 | Loss: | 52
| 33 | 0.77
| 33 | 0 | Pipe: | 51
| 33 | 0 | Loss: | 51
| 33 | 0 | Pipe: | 52
| 33 | 0 | Loss: | 52
| 33 | 0 | Pipe: | 53
| 33 | 0 | Loss: | 53
| 34 | 0.74
| 34 | 0 | Pipe: | 53
| 34 | 0 | Loss: | 53
| 34 | 0 | Pipe: | 54
| 34 | 0 | Loss: | 54
| 34 | 0 | Pipe: | 55
| 34 | 0 | Loss: | 55
| 35 | 1.16
| 35 | 0 | Pipe: | 55
| 35 | 0 | Loss: | 55
| 35 | 0 | Pipe: | 56
| 35 | 0 | Loss: | 56
| 35 | 0 | Pipe: | 57
| 35 | 0 | Loss: | 57
| 36 | 0.47
| 36 | 0 | Pipe: | 12
| 36 | 0 | Loss: | 12
| 36 | 0 | Pipe: | 13
| 36 | 0 | Loss: | 13
| 36 | 0 | Pipe: | 57
| 36 | 0 | Loss: | 57
| ---------------------- | JUNCS | LEAKAGES | ----------------------
| ---------------------- | PIPES | LEAKAGES | ----------------------
| 1 | 0 | LeakP: | 1 | 0 | 0 | 0 | 0
| 17 | 0 | LeakP: | 2 | 0 | 0 | 0 | 0
| 2 | 0 | LeakP: | 3 | 0 | 0 | 0 | 0
| 3 | 0 | LeakP: | 4 | 0 | 0 | 0 | 0
| 4 | 0 | LeakP: | 5 | 0 | 0 | 0 | 0
| 5 | 0 | LeakP: | 6 | 0 | 0 | 0 | 0
| 6 | 0 | LeakP: | 7 | 0 | 0 | 0 | 0
| 7 | 0 | LeakP: | 8 | 0 | 0 | 0 | 0
| 24 | 0 | LeakP: | 9 | 0 | 0 | 0 | 0
| 8 | 0 | LeakP: | 10 | 0 | 0 | 0 | 0
| 28 | 0 | LeakP: | 11 | 0 | 0 | 0 | 0
| 9 | 0 | LeakP: | 12 | 0 | 0 | 0 | 0
| 36 | 0 | LeakP: | 13 | 0 | 0 | 0 | 0
| 1 | 0 | LeakP: | 14 | 0 | 0 | 0 | 0
| 31 | 0 | LeakP: | 15 | 0 | 0 | 0 | 0
| 10 | 0 | LeakP: | 16 | 0 | 0 | 0 | 0
| 11 | 0 | LeakP: | 17 | 0 | 0 | 0 | 0
| 19 | 0 | LeakP: | 18 | 0 | 0 | 0 | 0
| 12 | 0 | LeakP: | 19 | 0 | 0 | 0 | 0
| 2 | 0 | LeakP: | 20 | 0 | 0 | 0 | 0
| 18 | 0 | LeakP: | 21 | 0 | 0 | 0 | 0
| 10 | 0 | LeakP: | 22 | 0 | 0 | 0 | 0
| 32 | 0 | LeakP: | 23 | 0 | 0 | 0 | 0
| 27 | 0 | LeakP: | 24 | 0 | 0 | 0 | 0
| 16 | 0 | LeakP: | 25 | 0 | 0 | 0 | 0
| 25 | 0 | LeakP: | 26 | 0 | 0 | 0 | 0
| 3 | 0 | LeakP: | 27 | 0 | 0 | 0 | 0
| 11 | 0 | LeakP: | 28 | 0 | 0 | 0 | 0
| 26 | 0 | LeakP: | 29 | 0 | 0 | 0 | 0
| 15 | 0 | LeakP: | 30 | 0 | 0 | 0 | 0
| 22 | 0 | LeakP: | 31 | 0 | 0 | 0 | 0
| 5 | 0 | LeakP: | 32 | 0 | 0 | 0 | 0
| 13 | 0 | LeakP: | 33 | 0 | 0 | 0 | 0
| 14 | 0 | LeakP: | 34 | 0 | 0 | 0 | 0
| 20 | 0 | LeakP: | 35 | 0 | 0 | 0 | 0
| 15 | 0 | LeakP: | 36 | 0 | 0 | 0 | 0
| 16 | 0 | LeakP: | 37 | 0 | 0 | 0 | 0
| 29 | 0 | LeakP: | 38 | 0 | 0 | 0 | 0
| 30 | 0 | LeakP: | 39 | 0 | 0 | 0 | 0
| 17 | 0 | LeakP: | 40 | 0 | 0 | 0 | 0
| 12 | 0 | LeakP: | 41 | 0 | 0 | 0 | 0
| 19 | 0 | LeakP: | 42 | 0 | 0 | 0 | 0
| 14 | 0 | LeakP: | 43 | 0 | 0 | 0 | 0
| 21 | 0 | LeakP: | 44 | 0 | 0 | 0 | 0
| 21 | 0 | LeakP: | 45 | 0 | 0 | 0 | 0
| 22 | 0 | LeakP: | 46 | 0 | 0 | 0 | 0
| 24 | 0 | LeakP: | 47 | 0 | 0 | 0 | 0
| 23 | 0 | LeakP: | 48 | 0 | 0 | 0 | 0
| 26 | 0 | LeakP: | 49 | 0 | 0 | 0 | 0
| 28 | 0 | LeakP: | 50 | 0 | 0 | 0 | 0
| 29 | 0 | LeakP: | 51 | 0 | 0 | 0 | 0
| 32 | 0 | LeakP: | 52 | 0 | 0 | 0 | 0
| 33 | 0 | LeakP: | 53 | 0 | 0 | 0 | 0
| 31 | 0 | LeakP: | 54 | 0 | 0 | 0 | 0
| 34 | 0 | LeakP: | 55 | 0 | 0 | 0 | 0
| 30 | 0 | LeakP: | 56 | 0 | 0 | 0 | 0
| 35 | 0 | LeakP: | 57 | 0 | 0 | 0 | 0
| 1 | 0 | LeakP: | 58 | 0 | 0 | 0 | 0
[STATUS]
| ID | Status/Setting
[PATTERNS]
| ID | Multipliers
| Demand | Pattern
| 1 | 1 | 1.2 | 1.4 | 1.6 | 1.4 | 1.2
| 1 | 1 | 0.8 | 0.6 | 0.4 | 0.6 | 0.8
[CURVES]
| ID | X-Value | Y-Value
[CONTROLS]
[RULES]
[ENERGY]
| Global | Efficiency | 75
| Global | Price | 0
| Demand | Charge | 0
[EMITTERS]
| Junction | Coefficient
[QUALITY]
| Node | InitQual
| 37 | 1
[SOURCES]
| Node | Type | Quality | Pattern
[REACTIONS]
| Type | Pipe/Tank | Coefficient
[REACTIONS]
| Order | Bulk | 1
| Order | Tank | 1
| Order | Wall | 1
| Global | Bulk | 0
| Global | Wall | 0
| Limiting | Potential | 0
| Roughness | Correlation | 0
[MIXING]
| Tank | Model
[TIMES]
| Duration | 48:00
| Hydraulic | Timestep | 1:00
| Quality | Timestep | 0:05
| Pattern | Timestep | 1:00
| Pattern | Start | 0:00
| Report | Timestep | 1:00
| Report | Start | 0:00
| Start | ClockTime | 12 | am
| Statistic | NONE
[REPORT]
| Status | No
| Summary | No
| Page | 0
[OPTIONS]
| Units | LPS
| Headloss | H-W
| Specific | Gravity | 1
| Viscosity | 1
| Trials | 500
| Accuracy | 0.001
| CHECKFREQ | 2
| MAXCHECK | 10
| DAMPLIMIT | 0
| Unbalanced | Continue | 10
| Pattern | time
| Demand | Multiplier | 1
| Emitter | Exponent | 0.5
| Quality | Cloro | mg/L
| Diffusivity | 1
| Tolerance | 0.01
[COORDINATES]
| Node | X-Coord | Y-Coord
| 1 | 7111.65 | 7532.36
| 2 | 5679.61 | 9538.83
| 3 | 4862.46 | 9538.83
| 4 | 2750.81 | 9474.11
| 5 | 1852.75 | 8357.61
| 6 | 1974.11 | 6076.05
| 7 | 1974.11 | 5149.68
| 8 | 4235.44 | 5076.86
| 9 | 6411.81 | 5093.04
| 10 | 5412.62 | 7888.35
| 11 | 4510.52 | 8264.56
| 12 | 3033.98 | 9243.53
| 13 | 2301.78 | 8078.48
| 14 | 2944.98 | 7669.9
| 15 | 3786.41 | 7139.97
| 16 | 4830.1 | 6480.58
| 17 | 7099.51 | 8438.51
| 18 | 5505.66 | 8450.65
| 19 | 3563.92 | 8839
| 20 | 3167.48 | 7532.36
| 21 | 2730.58 | 7285.6
| 22 | 3511.33 | 6666.67
| 23 | 4097.9 | 6286.41
| 24 | 3337.38 | 5121.36
| 25 | 4530.74 | 6011.33
| 26 | 4215.21 | 7783.17
| 27 | 5194.17 | 7055.02
| 28 | 5218.45 | 5089
| 29 | 5622.98 | 5999.19
| 30 | 5950.65 | 5796.93
| 31 | 6614.08 | 7621.36
| 32 | 5380.26 | 7544.5
| 33 | 6318.77 | 7281.55
| 34 | 6549.35 | 7212.78
| 35 | 6585.76 | 6092.23
| 36 | 7152.1 | 6104.37
| 37 | 7669.9 | 7783.17
[VERTICES]
| Link | X-Coord | Y-Coord
| 2 | 7103.56 | 9555.02
| 5 | 2030.74 | 9579.29
| 12 | 7168.28 | 5097.09
| 13 | 7111.65 | 7500
| 16 | 5008.09 | 7953.07
| 26 | 4328.48 | 5687.7
| 26 | 4247.57 | 5404.53
| 26 | 4239.48 | 5234.63
| 27 | 4757.28 | 8745.96
| 27 | 4700.65 | 8592.23
| 31 | 2605.18 | 5275.08
| 39 | 6043.69 | 5687.7
| 39 | 6092.23 | 5614.89
| 42 | 3284.79 | 8402.1
| 42 | 3596.28 | 8199.84
| 47 | 3713.59 | 5788.83
| 47 | 3798.54 | 5792.88
| 50 | 5279.13 | 5404.53
| 56 | 6112.46 | 6100.32
[LABELS]
| X-Coord | Y-Coord | Label | & | Anchor | Node
[BACKDROP]
| DIMENSIONS | 1000 | 4500 | 8000 | 10000
| UNITS | Meters
FILE
| OFFSET | 0 | 0
[NETDEMANDINFO]
| Property | value
| INHABITANTS | 0
| DEMAND | 0 | LPS
| DEMAND_PERCAPITA | 0 | LPS | (per | capita)
| DEMAND_LOSSES | 0 | Losses | and | leaks | rate
[WATERNETGEN]
| Property | Value
| SAG | 1 | Storeys | Above | Ground
| PDC | 1 | Pipe | Demand | Coeff.
| PDP | Pipe | Demand | Pattern
| PLC | 1 | Pipe | Water | Loss | Coeff.
| PLP | Pipe | Water | Loss | Pattern
| DPC | 200 | Demand | per | capita | (in | LPD)
| MAV | 0.127*D^0.4 | Max. | Velocity | Formula
| MIV | 0.3 | Min. | Velocity | Formula
| MAP | 600 | Max. | Pressure | Formula
| MIP | 100+40*N | Min. | Pressure | Formula
| MAS | 300 | Max. | Pressure | Span | Formula
| BAC | 0 | Leak. | Background | Coeff.
| BAE | 0 | Leak. | Background | exponent
| BUC | 0 | Leak. | Burst | Coeff.
| BUE | 0 | Leak. | Burst | exponent
[END]